## Analysis_Results
Testing Date | Weather Conditions | Avg Flow Rate [kg/s] | Wind Speed [m/s] | Start Time | Test Duration [hrs] | Min T_a [C] | Max T_a [C] | Significant Test Notes | Max Control Temp [C] | Max Tank Temp [C] | Max Temp Diff [C] | Time to Reach 30C [hrs] | Time to Reach Max Temp [hrs] | Heat Gain to Reach Max Temp [kW]
11-30-2019 | Cloudy Sunny | 0.1 |  | 43864.6924 | 1.333 | 20.4 | 22 |  | 22 | 23.1 | 1.2 | N/A | 0.417 | 0.502
12-01-2019 | Cloudy Sunny | 0.1 |  | 43864.3715 | 5.333 | 9.3 | 26.4 |  | 21.7 | 32.6 | 17.3 | 3.917 | 5.333 | 7.238

## Raw_Data
Date | Time | Temp1 [C] | Temp2 [C] | Temp_a [C]
11-30-2019 | 16:32:00 | 21.9 | 22 | 21.6
11-30-2019 | 16:37:00 | 22.1 | 22 | 21.6
11-30-2019 | 16:42:00 | 22.8 | 22 | 21.6
11-30-2019 | 16:47:00 | 22.9 | 22 | 21.6
11-30-2019 | 16:52:00 | 23 | 22 | 21.6
11-30-2019 | 16:57:00 | 23 | 22 | 21.6
11-30-2019 | 17:02:00 | 23.1 | 22 | 21.6
11-30-2019 | 17:07:00 | 23.1 | 22 | 21.6
11-30-2019 | 17:12:00 | 23.1 | 21.9 | 21.6
11-30-2019 | 17:17:00 | 23.1 | 22 | 21.6
11-30-2019 | 17:22:00 | 23.1 | 21.9 | 21.6
11-30-2019 | 17:27:00 | 23 | 21.9 | 20.4
11-30-2019 | 17:32:00 | 23 | 21.9 | 20.8
11-30-2019 | 17:37:00 | 23 | 21.8 | 21.4
11-30-2019 | 17:42:00 | 22.9 | 21.8 | 21.5
11-30-2019 | 17:47:00 | 22.9 | 21.7 | 21.5
11-30-2019 | 17:52:00 | 22.9 | 21.7 | 21.2
11-30-2019 | 17:57:00 | 22.8 | 21.7 | 21.9
12/1/2019 | 08:50:00 | 15.3 | 19 | 9.9
12/1/2019 | 08:55:00 | 15 | 18.9 | 9.9
12/1/2019 | 09:00:00 | 14.7 | 18.2 | 9.6
12/1/2019 | 09:05:00 | 14.3 | 17.5 | 9.3
12/1/2019 | 09:10:00 | 14 | 17 | 10.1
12/1/2019 | 09:15:00 | 13.9 | 16.9 | 10.8
12/1/2019 | 09:20:00 | 14 | 16.4 | 10
12/1/2019 | 09:25:00 | 14.3 | 16.3 | 10.9
12/1/2019 | 09:30:00 | 14.8 | 16.3 | 11.1
12/1/2019 | 09:35:00 | 15.2 | 16.3 | 11.3
12/1/2019 | 09:40:00 | 15.8 | 16.4 | 11.5
12/1/2019 | 09:45:00 | 16.1 | 16.4 | 11.1
12/1/2019 | 09:50:00 | 16.6 | 16.5 | 11.9
12/1/2019 | 09:55:00 | 17 | 16.5 | 12.4
12/1/2019 | 10:00:00 | 17.6 | 16.6 | 13.1
12/1/2019 | 10:05:00 | 18 | 16.7 | 13.5
12/1/2019 | 10:10:00 | 18.5 | 16.8 | 14
12/1/2019 | 10:15:00 | 18.9 | 16.8 | 14.2
12/1/2019 | 10:20:00 | 19.8 | 16.9 | 15.1
12/1/2019 | 10:25:00 | 19.9 | 17 | 17
12/1/2019 | 10:30:00 | 20.2 | 17 | 19.7
12/1/2019 | 10:35:00 | 20.6 | 17.1 | 20
12/1/2019 | 10:40:00 | 21 | 17.2 | 20.9
12/1/2019 | 10:45:00 | 21.4 | 17.3 | 21.5
12/1/2019 | 10:50:00 | 21.9 | 17.4 | 22.4
12/1/2019 | 10:55:00 | 22.4 | 17.5 | 21.9
12/1/2019 | 11:00:00 | 22.7 | 17.6 | 22.1
12/1/2019 | 11:05:00 | 23.2 | 17.8 | 23.2
12/1/2019 | 11:10:00 | 23.7 | 17.9 | 24.7
12/1/2019 | 11:15:00 | 24 | 17.9 | 24.6
12/1/2019 | 11:20:00 | 24.3 | 18 | 22
12/1/2019 | 11:25:00 | 24.6 | 18.1 | 19.9
12/1/2019 | 11:30:00 | 24.9 | 18.2 | 21.7
12/1/2019 | 11:35:00 | 25.3 | 18.3 | 22
12/1/2019 | 11:40:00 | 25.6 | 18.4 | 19.6
12/1/2019 | 11:45:00 | 26 | 18.5 | 18.2
12/1/2019 | 11:50:00 | 26.4 | 18.6 | 19
12/1/2019 | 11:55:00 | 26.8 | 18.9 | 18
12/1/2019 | 12:00:00 | 27.1 | 19 | 19.5
12/1/2019 | 12:05:00 | 27.4 | 19 | 19
12/1/2019 | 12:10:00 | 27.8 | 19.2 | 19.8
12/1/2019 | 12:15:00 | 28.1 | 19.3 | 19.4
12/1/2019 | 12:20:00 | 28.4 | 19.4 | 19.4
12/1/2019 | 12:25:00 | 28.7 | 19.5 | 19.8
12/1/2019 | 12:30:00 | 29 | 19.6 | 20.1
12/1/2019 | 12:35:00 | 29.3 | 19.7 | 20.3
12/1/2019 | 12:40:00 | 29.6 | 19.9 | 19.9
12/1/2019 | 12:45:00 | 29.8 | 19.9 | 19.9
12/1/2019 | 12:50:00 | 30.1 | 20 | 21.8
12/1/2019 | 12:55:00 | 30.3 | 19.1 | 20.5
12/1/2019 | 13:00:00 | 30.4 | 20.2 | 20.5
12/1/2019 | 13:05:00 | 30.4 | 20.3 | 20.6
12/1/2019 | 13:10:00 | 30.4 | 20.4 | 21.1
12/1/2019 | 13:15:00 | 30.9 | 20.6 | 23.8
12/1/2019 | 13:20:00 | 31.4 | 20.6 | 24.1
12/1/2019 | 13:25:00 | 31.6 | 20.8 | 26.1
12/1/2019 | 13:30:00 | 31.8 | 20.9 | 24.6
12/1/2019 | 13:35:00 | 32 | 20.9 | 25
12/1/2019 | 13:40:00 | 32.1 | 21 | 24.5
12/1/2019 | 13:45:00 | 32.2 | 21.2 | 24.9
12/1/2019 | 13:50:00 | 32.3 | 21.3 | 24.5
12/1/2019 | 13:55:00 | 32.4 | 21.4 | 25
12/1/2019 | 14:00:00 | 32.4 | 21.5 | 26.4
12/1/2019 | 14:05:00 | 32.5 | 21.5 | 25.2
12/1/2019 | 14:10:00 | 32.5 | 21.6 | 25.1
12/1/2019 | 14:15:00 | 32.6 | 21.7 | 25.2